## Non-Lighting Rebate Estimator
Business Name
Address
| Enter Total Project Costs (excluding tax) | [6 empty] | 4
Contact Name
Enter Expected Utility Rebates (excluding Longmont BEG)
Phone
Evaporative Cooling, Building Envelope, Compressors, Motors, Fans/Pumps, Food Service, Grocery, Office Equipment, Benchmarking, Renewables & Other Rebate Estimator Last Revised 1/1/2018 | PACE Rebate Limit (50% of Project Costs minus Utility Rebates) |  |  | 0
Email
|  |  | Estimated PACE Rebate Amount | 0
Measures | Deemed Savings | Deemed Savings Units | PACE Rebate | Rebate Units | Quantity | PACE Reward | Specifications
Advanced Evaporative Cooling
Indirect or Hybrid Advance Evaporative Cooler | 968 | kWh/1600 cfm | 1000 | $/1,600 cfm |  | 0 | • Equipment must be permanently installed • Equipment must be indirect, hybrid, or two-stage evaporative cooling unit. • Portable coolers or systems with vapor compression backup are not eligible • A minimum Media Saturation Effectiveness of 85% is required • Units must be installed with a remote thermostat and a periodic purge water control • Only conditioned CFM qualifies for rebate
Direct Evaporative Pre-Cooling | 350 | kWh/Unit | 100 | $/ton |  | 0 | • For air cooled packaged rooftop or matched split system condensers only. • Units must have a performance efficiency of at least 75% (dry bulb temperature reduction achieved divided by the wet bulb depression) provided by the manufacturer. • If sump is used, must have periodic purge control. • Must have enthalpy controls to control pre-cooler operation. • Water supply must have chemical or mechanical water treatment.
Building Envelope
Window Film, sq ft | 8 | kWh/sqft | 2.75 | $/sqft |  | 0 | • The installed window film must have a Solar Heat Gain Coefficient (SHGC) rate of 0.35 or less • Only windows with eastern, southern, and western exposure are eligible • The windows cannot be more than 50% shaded by external elements (such as trees, buildings, awnings etc.) during cooling season • The windows must be part of or directly affect the conditioned space
Compressed Air
VFD Compressor 10 HP | 3077 | kWh/Unit | 3700 | $/unit |  | 0 | • Equipment must be a new, rotatory type compressor with factory installed VFDs (piston or reciprocating compressors do not qualify) • VFD compressors installed must be less than 50 HP • Existing compressor must be a non-reciprocating load/ unload compressor with less than two gallon of storage per cfm of compressor-rated capacity, or modulation with or without unload • Back-up equipment not eligible for rebates
VFD Compressor 15 HP | 4528 | kWh/Unit | 4160 | $/unit |  | 0
VFD Compressor 20 HP | 6038 | kWh/Unit | 4620 | $/unit |  | 0
VFD Compressor 25 HP | 7481 | kWh/Unit | 5080 | $/unit |  | 0
VFD Compressor 30 HP | 8908 | kWh/Unit | 5550 | $/unit |  | 0
VFD Compressor 40 HP | 11788 | kWh/Unit | 6470 | $/unit |  | 0
No Loss Air Drain | 553.15 | kWh/Unit | 24 | $/unit |  | 0 | Compressor must be one of the following: • Load/no-Load with at least 5 gal/CFM of storage • Variable Speed Drive compressor • Variable Displacement/Capacity compressor • Centrifugal compressors in their efficient trim range without any blow-off to atmosphere • Drains on inlet modulation or load/no load systems with < 2 gal/CFM storage are not eligible
Motors - 1% higher efficiency than NEMA Premium Motors
1 hp | 1 | kW | 90 | $/unit |  | 0 | • Rebates will be offered for new equipment only • Motor replacement of currently operating equipment • Rebates available for motors and VFDs between 1 and 200 HP • Back-up equipment not eligible for rebates • Rebates are eligible for pump or fan applications • Customers must scrap the previous motor themselves or have it scrapped by their installer. By signing the application, customers are acknowledging that the motor has been scrapped. • Motor efficiency must be at least 1% higher than the NEMA Premium efficiency criteria.
1.5 hp | 1 | kW | 147 | $/unit |  | 0
2 hp | 1 | kW | 200 | $/unit |  | 0
3 hp | 1.5 | kW | 335 | $/unit |  | 0
5 hp | 1.5 | kW | 415 | $/unit |  | 0
7.5 hp | 2.5 | kW | 340 | $/unit |  | 0
10 hp | 3 | kW | 326 | $/unit |  | 0
15 hp | 4.5 | kW | 191 | $/unit |  | 0
20 hp | 6 | kW | 286 | $/unit |  | 0
25 hp | 7.5 | kW | 532 | $/unit |  | 0
30 hp | 9 | kW | 520 | $/unit |  | 0
40 hp | 12 | kW | 1550 | $/unit |  | 0
50 hp | 14 | kW | 1560 | $/unit |  | 0
60 hp | 16 | kW | 1960 | $/unit |  | 0
75 hp | 18 | kW | 2033 | $/unit |  | 0
100 hp | 20 | kW | 1805 | $/unit |  | 0
125 hp | 23 | kW | 1500 | $/unit |  | 0
150 hp | 25 | kW | 1630 | $/unit |  | 0
200 hp | 30 | kW | 4015 | $/unit |  | 0
VFD Fans/Pumps |  |  |  |  | Units
1 - 5 hp | 0.5 | kW | 78 | $/unit |  | 0
7.5 - 25 hp | 3 | kW | 346 | $/unit |  | 0
30 - 75 hp | 9 | kW | 390 | $/unit |  | 0
100 - 200 hp | 25 | kW | 2823 | $/unit |  | 0
Food Service Equipment
Energy Star High efficiency ice machine, Ice Making Head (IMH) | 1598 | kWh/Unit | 100 | $/unit |  | 0 | • Equipment must currently be Energy Star qualified • Equipment must be new and not refurbished • For a list of qualified equipment, see: www.energystar.gov/index.cfm?c=products.pr_find_es_products
Energy Star High efficiency ice machine, Remote Condensing Unit (RCU) or Split System | 3777 | kWh/Unit | 100 | $/unit |  | 0
Energy Star High efficiency ice machine, Self Contained Unit (SCU) | 561 | kWh/Unit | 100 | $/unit |  | 0
Energy Star Dishwasher, Under Counter | 4925 | kWh/Unit | 500 | $/unit |  | 0
Energy Star Dishwasher, Door Type | 15034 | kWh/Unit | 1000 | $/unit |  | 0
Energy Star Dishwasher, Single Tank Conveyor | 17365 | kWh/Unit | 1500 | $/unit |  | 0
Energy Star Dishwasher, Multi Tank Conveyor | 29488 | kWh/Unit | 2000 | $/unit |  | 0
Energy Star Commercial Refrigerator, glass door, <30 cu ft | 690 | kWh/Unit | 75 | $/unit |  | 0
Energy Star Commercial Refrigerator, glass door, >=30 cu ft | 787 | kWh/Unit | 100 | $/unit |  | 0
Energy Star Commercial Refrigerator, solid door, <30 cu ft | 402 | kWh/Unit | 50 | $/unit |  | 0
Energy Star Commercial Refrigerator, solid door, >=30 cu ft | 871 | kWh/Unit | 100 | $/unit |  | 0
Energy Star Commercial Freezer, glass door, <30 cu ft | 1986 | kWh/Unit | 150 | $/unit |  | 0
Energy Star Commercial Freezer, glass door, >=30 cu ft | 4782 | kWh/Unit | 300 | $/unit |  | 0
Energy Star Commercial Freezer, solid door <30 cu ft | 869 | kWh/Unit | 100 | $/unit |  | 0
Energy Star Commercial Freezer, solid door, >=30 cu ft | 2161 | kWh/Unit | 200 | $/unit |  | 0
Energy Star Insulated Hot Food Holding Cabinets, >= 7 cu. Ft. | 5293 | kWh/Unit | 500 | $/unit |  | 0
Energy Star Gas Steamers | 31231 | kWh/Unit | 210 | $/unit |  | 0
Energy Star Gas Fryers | 14797 | kWh/Unit | 25 | $/unit |  | 0
Energy Star Gas Griddles | 4366 | kWh/Unit | 30 | $/unit |  | 0
Energy Star Convection Ovens - Gas | 8966 | kWh/Unit | 25 | $/unit |  | 0
Energy Star Electric Steamers | 4930 | kWh/Unit | 1000 | $/unit |  | 0
Energy Star Electric Fryers | 1179 | kWh/Unit | 60 | $/unit |  | 0
Energy Star Electric Griddles, > 70% HL Eff | 1886 | kWh/Unit | 250 | $/unit |  | 0
Energy Star Convection Ovens - Electric, > 70% HL Eff | 1870 | kWh/Unit | 175 | $/unit |  | 0
Grocery
Reach-in or walk-in refrigerator or freezer, Door Gaskets, Glass door; Low temp (<=0 deg F), linear ft | 158 | kWh/linear ft | 2 | $/ft |  | 0 | Door gaskets for reach-in or walk-in refrigerators or freezers • Must replace a worn or damaged gasket on one or more actively used door(s) of a reach-in or walk-in cooler or freezer. • Replacement gaskets must meet the manufacturer’s installation specifications regarding dimensions, materials, attachment method, style, compression, and magnetism. • Applicable to main insulated solid door(s) of walk-in cooler of freezer that open to ambient temperatures. • Applicable to standard size reach-in glass or solid door(s) of a low or medium temperature display case. High-efficiency open or reach-in display cases • Low Temperature Coffin to New High Efficiency Reach-in: - Must replace an existing low temperature self-contained or remote coffin case with a high efficiency remote reach-in case. - New case length must be equal to 1/3 the original case length or less. - Existing case must have shaded-pole fan motors - New case must have: • T-8 lamps with electronic ballasts or LED lights. • Electronically or solid state commutated fan motors (ECM/SSC) • Low/no anti-sweat glass double-pane or triple-pane doors meeting the requirements of the “Special Doors with Low/No Anti-Sweat Heat on Low Temperature Display Cases” measure. • Low Temperature Reach-in to New High Efficiency Reach-in: - Must replace an existing low temperature self-contained or remote reach-in case with a high efficiency remote reach-in case. - New case length must be equal to or shorter than the original case. - Existing case must have: • T-12 lamps, magnetic ballasts • Shaded-pole fan motors • Standard glass doors (>0.37 amps of door heater current/linear ft of door) - New case must have: • T-8 lamps with electronic ballasts or LED lights. • Electronically or solid state commutated fan motors (ECM/SSC) • Low/no anti-sweat glass double-pane or triple-pane doors meeting the requirements of the “Special Doors with Low/No Anti-Sweat Heat • Medium Temperature Open Case to High Efficiency Open Case: - Must replace an existing medium temperature, open, vertical case with T12 lamps, magnetic ballasts and shaded-pole motors with a new high-efficiency open vertical case equipped with new ECM fan motor(s), T-8 lamps, and electronic ballasts. - Cases must be equipped with high efficiency evaporators that meet saturated evaporation temperature (SET) conditions as follows: Produce 29°F.; Dairy / Deli 26°F.; Meat 22°F. - Must raise suction temperature set point on the suction group of the replaced case(s) by at least 3°F. - Case length must be equal to or shorter than original case.
Reach-in or walk-in refrigerator or freezer, Door Gaskets, Glass door; Med temp (>0 deg F), linear ft | 27 | kWh/linear ft | 2 | $/ft |  | 0
Reach-in or walk-in refrigerator or freezer, Door Gaskets, Solid door; Low temp (<=0 deg F), linear ft | 235 | kWh/linear ft | 2 | $/ft |  | 0
Reach-in or walk-in refrigerator or freezer, Door Gaskets, Solid door; Med temp (>0 deg F), linear ft | 40 | kWh/linear ft | 2 | $/ft |  | 0
High-efficiency open display case, Med temp (>0 deg F), length of case in ft | 146 | kWh/linear ft | 250 | $/ft |  | 0
High-efficiency reach-in display case, Med temp (>0 deg F), length of case in ft | 546 | kWh/linear ft | 250 | $/ft |  | 0
High-efficiency reach-in display case, Low temp (<=0 deg F), length of case in ft | 1365 | kWh/linear ft | 450 | $/ft |  | 0
Strip curtains for walk-in coolers or refrigerated warehouse spaces | 48 | kWh/sqft | 3 | $/sqft |  | 0 | • New strip curtains must be installed on doorways of refrigerated spaces (conditioned to less than 50° F). • Rebate is not available for replacement of existing strip curtains • Strip curtains on display cases are not eligible
Units
Auto closers, Main walk-in door; Low temp (<=0 deg F) | 2470 | kWh/door | 200 | $/unit |  | 0 | • Must be applied to one or more actively used insulated door(s) of a walk-in cooler or freezer or one or more actively used glass door(s) of a reach-in cooler or freezer. • Must be able to firmly close door when door is within one or more inch of full closure. • The minimum walk-in door perimeter to qualify for rebate is 16 feet. New installations or repairs that include replacement of hard parts qualify. Adjustment of existing auto-closers does not qualify for rebates.
Auto Closers, Main walk-in door; Med temp (>0 deg F) | 1067 | kWh/door | 200 | $/unit |  | 0
Auto Closers, Reach-in door; Low temp (<=0 deg F) | 1297 | kWh/door | 150 | $/unit |  | 0
Auto Closers, Reach-in door; Med temp (>0 deg F) | 243 | kWh/door | 60 | $/unit |  | 0
Office Equipment
Servers Consolidated
Server Consolidation by Virtualization | 3275 | kWh/server | 175 | $/server |  | 0 | • Rebate is per server removed from use due to consolidation • Must submit a copy of virtualization software agreement supplied by vendor and provide proof the consolidated servers have been removed and fully decommissioned. • Virtualization services hosted off site are not eligible for an incentive.
Units
Energy Star Enterprise Server | 1900 | kWh/Unit | 500 | $/unit |  | 0 | • Equipment must currently be Energy Star qualified • Equipment must be new and not refurbished • For a list of qualified equipment – single configurations, see: www.energystar.gov/ia/products/prod_lists/enterprise_servers_prod_list.xls • For a list of qualified equipment – families, see: www.energystar.gov/ia/products/prod_lists/enterprise_servers_families_prod_list.xls • For general information on Energy Star Enterprise Servers, see: www.energystar.gov/index.cfm?fuseaction=find_a_product.showProductGroup&pgw_code=DC
Energy Star Vending Machine with software | 1842 | kWh/Unit | 500 | $/unit |  | 0
Benchmarking
Portfolio Manager Benchmarking |  |  | 100 | $/property |  | 0 | Businesses that work with an advisor to benchmark their buildings prior to initiating and upgrade are eligible to receive a $100 rebate after the upgrade is complete. The advisor will work with the business to obtain a score from EPA’s Portfolio Manager (PM). If a PM score cannot be obtained for the business type, an Energy Usage Index (EUI) will be calculated instead. A new PM or EUI will be calculated one year after the upgrade is completed. Only buildings greater than 5,000 sqft are eligible for the rebate. Multi-family units are not eligible for the rebates.
Other
Plug Load Occupancy Sensors | 100 | W | 25 | $/unit |  | 0 | • Plug load occupancy sensors may be either passive infrared or ultrasonic. • Plug load occupancy sensors must be connected to at least 50 Watts of power quality. • Products with adjustable time delays and low power demand are recommended. • Equipment connected to this device should not be sensitive to on/off operation. Powering computers off through this device may result in data loss.
Evaporator Fan EC Motor | 307 | W | 101 | $/unit |  | 0 | • Must be installed in a refrigeration application • Must replace a Shaded Pole Motor • Motor speed shall be adjusted for the required airflow rate for the specific application during installation.
Network Computer Power Management Software - per computer | 200 | W | 10 | $/unit |  | 0 | • Network power management software for desktop computers connected to the company network by a server qualifies. • The software shall be capable of managing power consumption for individual PC’s and measuring energy savings.
Renewable Energy |  |  |  |  | Size in Watts
Any electricity generating renewable technology |  |  | 1 | $/W |  | 0 | Photovoltaic Systems Appropriately-sized system or unit installed on existing rooftops and parking shade structures; or on the ground within the boundaries of an existing facility. • North-facing roofs do not allow full utilization of sunlight and do not qualify • There must be minimal shading by trees, buildings and other structures • The property must be free from deed restrictions on PV systems • The roof needs to be able to support a PV system installation. • A list of eligible PV system modules and inverters is available on the California Energy Commission’s website. • All PV systems must carry a five-year warranty from both the manufacturer and the installer, including parts and labor. • Rebuilt, used, refurbished or portable equipment does not qualify.
| *Estimated Rebate Total |  |  |  |  | 0 | 0
* This tool is for estimating purposes only and does not serve as a guarantee of a rebate or of final rebate amounts. Rebates will be issued on a first-come, first-served basis until all funding committed. Rebates are contingent on applicants and equipment meeting eligibility requirements. See rebate application for full terms and conditions.
Click to Clear
Click to Clear Business Data